## Surface Water
ALABAMA WATER & POLLUTION CONTROL ASSOCIATION'S | [10 empty] | Conventional | Grade | Score_2 | Score_1 | Answer | Score_4 | Score_3
SURFACE WATER SYSTEM "BEST OPERATED PLANT" GRADE SHEET | [10 empty] | Membrane | excellent | 2 | 1 | yes | 4 | 3
[12 empty] | good | 0 | 0 | no | 3 | 2
[12 empty] | fair |  |  |  | 2 | 1
|  |  | Name of Plant or System: | [8 empty] | poor |  |  |  | 1 | 0
0
I. | Raw Water Intake Equipment
|  |  |  | Total for Section I | 0
II. | Flash Mixer / Flocculation
|  |  |  | Total for Section II | 0
III. | Sedimentation Basins
|  |  |  | Total for Section III | 0
IV. | Filtration
|  |  |  | Total for Section IV | 0
V. | Clearwell
|  |  |  | Total for Section V | 0
VI. | Chemical Feed Equipment
|  |  |  | Total for Section VI | 0
VII. | Extra Equipment
|  |  |  | Total for Section VII | 0
VIII. | Maintenance & Operation Records
|  |  |  | Total for Section VIII | 0
IX. | Safety
|  |  |  | Total for Section IX | 0
X. | Laboratory & Laboratory Equipment
|  |  |  | Total for Section X | 0
XI. | Water Quality Performance
|  |  |  | Total for Section XI | 0
XII. | Appearance
|  |  |  | Total for Section XII | 0
XIII. | General
|  |  |  | Total for Section XIII | 0
|  |  |  | Total Score | 0 | (100 Possible Points)
Inspector:
Date of Inspection:
I. | Raw Water Intake Equipment | [5 empty] | (Answer) |  | (Score)
1. | Has Generator | [6 empty] | *
(yes = 1 no* = -1)
2. | Operable Raw Water Flow Meter
(yes = 1 no = 0)
3. | Is Facility Visited Daily
(yes = 1 no = 0)
4. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section I | 0
II. | Flash Mixer / Flocculation | [5 empty] | (Answer) |  | (Score)
1. | Is Area Lighted
(yes = 1 no = 0)
2. | Is Area Free of Chemical Build Up
(yes = 1 no = 0)
3. | Floc Formation
(excellent = 1 good = .75 fair = .50 poor = 0)
4. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section II | 0
III. | Sedimentation Basins | [5 empty] | (Answer) |  | (Score)
1. | Is Area Lighted
(yes = 1 no = 0)
2. | Has Continuous Sludge Removal
(yes = 1 no = 0)
3. | Basin Free of Sludge Build-Up | [6 empty] | *
(yes = 1 no* = -1)
4. | Floc Settlement
(excellent = 1 good = .75 fair = .50 poor = 0)
5. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section III | 0
Select Filter Type
IV. | Filtration |  |  | 1
| Note: Scores doubled if Filter Type is "Membrane" | [5 empty] | (Answer) |  | (Score)
1. | All Loss of Head (DP) Indicators Operable | [6 empty] | *
(yes = 1 no* = -1)
2. | All Rate of Flow Indicators Operable | [6 empty] | *
(yes = 1 no* = -1)
3. | All Wash Water Agitators Operable | [6 empty] | * |  | (Conventional Only)
(yes = 1 no* = -1)
4. | Surface of Media Clean | [6 empty] | * |  | (Conventional Only)
(yes = 1 no* = -1)
5. | Media Level Checked During the previous 12 months | [6 empty] | * |  | (Conventional Only)
at the Proper Level
(yes = 1 no* = -1)
6. | Are Rake & Hookgage or other Advanced Flow
Rate Equipment Available
(yes = 1 no = 0)
7. | Is There a Standard Operating Procedure for
Backwash
(yes = 1 no = 0)
8. | Are Rate of Flow Indicators Checked Using a | [8 empty] | (Conventional Only)
Hookgage
(yes = 1 no = 0)
[6 empty] | Total for section IV | 0
V. | Clearwell | [5 empty] | (Answer) |  | (Score)
1. | Is Clearwell Properly Protected | [6 empty] | *
(yes = 1 no* = -1)
2. | Is Clearwell Level Indicator Working Properly
(yes = 1 no = 0)
3. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section V | 0
VI. | Chemical Feed Equipment | [5 empty] | (Answer) |  | (Score)
1. | Spare Disinfectant Feeder | [6 empty] | *
(yes = 1 no* = -1)
2. | Spare Corrosion Control Feeder | [6 empty] | *
(yes = 1 no* = -1)
3. | Spare Coagulant Feeder | [6 empty] | *
(yes = 1 no* = -1)
4. | Is Weight of Chemical Usage Recorded
(yes = 1 no = 0)
5. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section VI | 0
VII. | Extra Equipment | [5 empty] | (Score)
(1 Point Each)
1. | Fluoride Being Feed
2. | Corrosion Inhibitor Other Than Lime, Soda Ash,
etc. Being Used
3. | Powdered Activated Carbon, Potassium Permanganate
or other Oxidation Chemical is Being Feed
4. | Particle Counters or Advanced Turbidity Equipment
Being Used
[6 empty] | Total for section VII | 0
VIII. | Maintenance & Operation Records | [5 empty] | (Answer) |  | (Score)
1. | Produces Monthly Operating Report for previous year
(yes = 1 no = 0)
2. | Makes Monthly Determination of Unaccounted | [6 empty] | *
for Water
(yes = 1 no* = -1)
3. | Are Turbidimeters Verified Weekly & Calibrated | [6 empty] | *
Quarterly
(yes = 1 no* = -1)
4. | Records Indication Monthly Rate of Flow | [6 empty] | *
Measurements on Each Filter
(yes = 1 no* = -1)
5. | Produces Bacteriological & Chemical Results for
previous year
(yes = 1 no = 0)
6. | Produces Standard Operating Jar Test Procedure for Facility | [6 empty] | *
(yes = 2 no* = -1)
7. | Produces Consumer Confidence Report for previous year
(yes = 1 no = 0)
8. | Has Raw & Finished Water Flow Meters Been Calibrated
in the Past Twelve (12) Months
(yes = 1 no = 0)
9. | Does System Have a Cross-Connection Policy
(yes = 1 no = 0)
10. | Calibration Charts for Feeders Updated Within
the Past Six (6) Months
(yes = 1 no = 0)
[6 empty] | Total for section VIII | 0
IX. | Safety | [5 empty] | (Answer) |  | (Score)
1. | Has Safety Displays & Posters
(yes = 1 no = 0)
2. | Gas Mask with Unexpired Canister or SCBA, or | [6 empty] | *
comparable Safety Equipment if Feeding Disinfectant
Other Than Chlorine
(yes = 1 no* = -1)
3. | Are all Areas of the Plant Safe to Work Except as
Noted by Appropriate Signs
(yes = 1 no = 0)
4. | Can Produce Evidence of Completing any Safety
or First Aid Seminar or Class
(yes = 1 no = 0)
5. | Does Disinfectant Rooms Have Proper Ventalation
(yes = 1 no = 0)
6. | Is an Operable Shower Available Near the
Fluoride Area
(yes = 1 no = 0)
[6 empty] | Total for section IX | 0
X. | Laboratory & Laboratory Equipment | [5 empty] | (Answer) |  | (Score)
1. | Has Operable pH Meter | [6 empty] | *
(yes = 1 no* = -1)
2. | DPD Chlorine Test Kit or ADEM Approved | [6 empty] | *
Method for Chlorine Testing
(yes = 1 no* = -1)
3. | Operable Zeta Meter or Streming Current Monitor | [6 empty] | *
(yes = 1 no* = -1)
4. | Dated & Un-Expired Chemical Reagents | [6 empty] | *
(yes = 1 no* = -1)
5. | All Process Control & Tank Level Monitoring | [6 empty] | *
Equipment Operable & Calibrated Within the
Past Year
(yes = 1 no* = -1)
6 | Is There Equipment for Continuously Monitoring
Turbidity
(yes = 1 no = 0)
7. | Overall Condition
(excellent = 1 good = .75 fair = .50 poor = 0)
[6 empty] | Total for section X | 0
XI. | Water Quality Performance (January - December) | [7 empty] | (Score)
1. | Maximum Filter Effluent Turbidity is 0.10 NTU or Less
(2 points)
2. | "A" = Maximum Monthly Filtered Water Turdity: | [5 empty] | NTU
1.0 - "A" = "B" x 5 = Total Points
3. | Fluoride Concentration Averaged Between 0.5 mg/L & 0.8 mg/L
(2 points)
4. | Settled Water Turbidity Averaged Less Than 1.0 NTU
(2 points)
5. | Plant is Approved for High Rate Filtration
(1 Point)
6. | TOC Performance Ratio Results Reported to ADEM 1.0 or Greater
(2 points)
7. | DBP in Compliance for the Last Year
(2 points)
[6 empty] | Total for section XI | 0
XII. | Appearance | [5 empty] | (Answer) |  | (Score)
1. | Interior of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
2. | Exterior of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
3. | Overall Rating of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
[6 empty] | Total for section XII | 0
XIII. | General | [5 empty] | (Answer) |  | (Score)
1. | One Point for Each AWPCA Conference Attended in the Past
Three (3) Years by Plant Personnel
(Maximum of 3 Points)
2. | One Point for Each Member of AWPCA
(Maximum of 4 Points)
4. | Overall Rating of Plant Operations
(excellent = 5 good = 4 fair = 3 poor = 0)
[6 empty] | Total for section XIII | 0
[6 empty] | Total Score | 0