## Grd. Water Inspect. Form
ALABAMA WATER & POLLUTION CONTROL ASSOCIATION'S | [8 empty] | Answer_5 | Answer_3 | Score_2 | Score_1
GROUND WATER SYSTEM "BEST OPERATED PLANT" GRADE SHEET | [8 empty] | Excellent | Excellent | 2 | 1
[9 empty] | Good | Good | 0 | 0
| Name of System: | [7 empty] | Average | Poor
Fair
Poor
I. | Chemicals
|  | Total for Section I |  | 0
II. | Pumping Equipment
|  | Total for Section II |  | 0
III. | Water Quality Performance
|  |  | Total for Section III | 0
IV. | Operation Records and Test Equipment
|  |  | Total for Section IV | 0
V. | Appearance & General Condition
|  |  | Total for Section V | 0
VI. | Safety
|  |  | Total for Section VI | 0
VII. | Operators & AWPCA Affiliation
|  |  | Total for Section VII | 0
VIII. | Operators and Employees
|  |  | Total for Section VIII | 0
IX. | Bonus Point
|  |  | Total for Section IX | 0
|  |  | Total Score | 0 | (100 Possible Points)
Inspector:
Date of Inspection:
I. | Chemicals
(Excellent=5 Good=4 Average=3 Fair=2 Poor=0)
[7 empty] | (Grade) | (Score)
1. | Adequacy of Equipment
(Scales, Automatic Changeover, Ventilation Fan,
Spare Parts, Pressure Gauges, Feeding Properly, etc.)
2. | Operating Condition
(Pumps Working, Corrosion Due to Gas Leak,
Lime Build Up, etc.)
3. | Maintenance
(Operable Scales, Pump Packing Leaks, Cleaning,
Lubrication, etc.)
4. | Overall Condition
[6 empty] | Total for Section I | 0
II. | Pumping Equipment
(Excellent=5 Good=4 Average=3 Fair=2 Poor=0)
[7 empty] | (Grade) | (Score)
1. | Adequacy of Equipment
(Duplicate Pumps, Well Level Monitoring Equipment,
Pump to Waste Line, Pressure Gauges, Sample Taps, etc)
2. | Operating Condition
(Vibration, Pumping Air, Overheating, etc.)
3. | Maintenance
(Lubrication, Packing Leak, Dirty Air Takes, etc.)
4. | Physical Appearance
(Equipment Painted, Area Clean, etc.)
5. | Overall Condition
[6 empty] | Total for Section II | 0
III. | Water Quality Performance
| (2 points each) | [5 empty] | (Score)
1. | Secondary Drinking Water Constituent Color entering
Distribution System below MCL of 15 Color Units
2. | Secondary Drinking Water Constituent pH entering
Distribution System between MCL of 6.5 - 8.5.
3. | Secondary Drinking Water Constituent Iron entering
Distribution System below MCL of 0.3 mg/L.
4. | Secondary Drinking Water Constituent Manganese entering
Distribution System below MCL of 0.05 mg/L.
[6 empty] | Total for Section III | 0
IV. | Operation Records & Test Equipment
| (2 points each) | [5 empty] | (Score)
1. | Produce Monthly Operating Report for previous year
2. | Produce Consumer Confidence Report for previous year
3. | Has Unexpired Reagents on Hand
4. | Uses EPA Approved Test Methods
5. | Unaccounted for Water 15% or less for previous year
6. | Has Preventative Maintenance Schedule for Pumps
7. | Has Pump Capacity Test Results
8. | Has Distribution Flushing Schedule
9. | Has Cross-Connection Policy
10. | Can Produce Previous Year Bacteriological Results
& Previous Year Chemical Results
(VOC, SOC, Lead & Copper, etc.)
11. | Has Current Sample Sitting Plan
12. | Well Levels Recorded @ each Site
[6 empty] | Total for Section IV | 0
V. | Appearance & General Condition
(Excellent=5 Good=4 Average=3 Fair=2 Poor=0)
[7 empty] | (Grade) | (Score)
1. | Interior of Facilities
2. | Exterior of Facilities
3. | Overall Maintenance
[6 empty] | Total for Section V | 0
VI. | Safety
| (1 point each) | [5 empty] | (Score)
1. | Has Appropriate Danger Signs
2. | Has Appropriate Safety Equipment on Hand
[6 empty] | Total for Section VI | 0
VII. | Operators & AWPCA Affiliation
| (1 point each) | [5 empty] | (Score)
1. | Has Certified Operator
2. | Has Attended AWPCA Short Course
3. | Has AWPCA Members
[6 empty] | Total for Section VII | 0
VIII. | Operators & Employees
(Excellent=2 Good=1 Poor=0)
[7 empty] | (Grade) | (Score)
1. | Overall Rating of Operators Knowledge of System
[6 empty] | Total for Section VIII | 0
IX. | Bonus Point
| (1 point each) | [5 empty] | (Score)
1. | Fluoride Fed @ Facility & Maintained
Between 0.5 - 0.8 mg/L
[6 empty] | Total for Section VIII | 0
[6 empty] | Total Score | 0