## Dist. Sys. Grade Sheet
ALABAMA WATER & POLLUTION CONTROL ASSOCIATION'S | [8 empty] | Answer | Score_3 | Score_2
DISTRIBUTION SYSTEM "BEST OPERATED PLANT" GRADE SHEET | [8 empty] | Excellent | 3 | 2
[9 empty] | Good | 0 | 0
Average
Fair
| Name of System: | [7 empty] | Poor
I. | Pumping Equipment
|  |  | Total for section I | 0
II. | Appearance, Attitude, & General Condition
|  |  | Total for section II | 0
III. | Records & Test Equipment
|  |  | Total for Section III | 0
IV. | Safety
|  |  | Total for Section IV | 0
V. | Operators & AWPCA Affiliation
|  |  | Total for Section V | 0
|  |  | Total Score | 0 | (100 Possible Points)
Inspector:
Date of Inspection:
I. | Pumping Equipment
(Excellent=5 Good=4 Average=3 Fair=2 Poor=0)
[7 empty] | (Answer) | (Score)
1. | Adequacy of Equipment
(Duplicate Pumps, Pressure Gauges, Sample Taps, etc)
2. | Operating Condition
(Vibration, Pumping Air, Overheating, etc.)
3. | Maintenance
(Lubrication, Packing Leak, Dirty Air Takes, etc.)
4. | Physical Appearance
(Equipment Painted, Area Clean, etc.)
5. | Overall Condition
[6 empty] | Total for Section I | 0
II. | Appearance, Attitude, & General Condition
(Excellent=5 Good=4 Average=3 Fair=2 Poor=0)
[7 empty] | (Answer) | (Score)
1. | Interior of Facilities
2. | Exterior of Facilities
3. | Area Surrounding Facilities
4. | Attitude of Operators
5. | Overall Operation
6. | Overall Maintenance
[6 empty] | Total for section II | 0
III. | Records & Test Equipment
| (2 points each) | [6 empty] | (Score)
1. | Keeps Daily Records of Chlorine Residual | [7 empty] | Produce Monthly Operating Report for previous year
2. | Updated Distribution Map | [7 empty] | Produce Consumer Confidence Report for previous year
3. | Produce Consumer Confidence & Monthly Operating Report for previous year
4. | Has All Finished Water Flow Meters Been Calibrated
in the Last 12 Months
5. | Uses EPA Approved Test Methods
6. | Has Unexpired Reagents on Hand
7. | Unaccounted for Water 15% or less for previous year
8. | Has Preventative Maintenance Schedule for Pumps & Equipment
9. | Has Distribution Flushing Schedule
10. | Can Produce Bacteriological Results for the Past 12 Months
11. | All Process Control and Tank Monitoring Equipment Operable and
Calibrated During the Past 12 Months
12. | Produce Annual Records of Pump Efficiency Curves on Pumps
13. | Meters all Wells/Pump Stations
14. | Updated Hydrant and Valve Map
15. | Has an Updated Written Bac-T Sampling Site Plan
16. | Has a Written Cross-Connection Policy
17. | Produce Record of 5 Year Tank Inspections
[6 empty] | Total for Section III | 0
IV. | Safety
| (2 points each) | [6 empty] | (Score)
1. | Produce Evidence of Completing
any Safety or First Aid Class
[6 empty] | Total for Section IV | 0
V. | Operators & AWPCA Affiliation
| (3 points each) | [6 empty] | (Score)
1. | Has Certified Operator
2. | Has Attended AWPCA Short Course
3. | Has AWPCA Member
[6 empty] | Total for Section V | 0
[6 empty] | Total Score | 0